## HOME
Environmental Protection Licence Number: 11733 (Casella Wines)
| Monitoring Point Location/Description | Sample Frequency
MP01 | The Effluent Inlet Pipe at Mt Bingar Waste Water Treatment Plant | Soil Samples Collected 6 Monthly and Flow Readings Collected Monthly
MP02 | The Effluent Sampling Point at the 140 Megalitre Storage Pond | Soil Samples Collected 6 Monthly and Flow Readings Collected Monthly
MP08 | The Bore Identified as MB1 at the Utilisation Area | 6 Monthly (March/September)
MP09 | The Bore Identified as MB2 at the Utilisation Area | 6 Monthly (March/September)
MP10 | The Bore Identified as MB3 at the Utilisation Area | 6 Monthly (March/September)
MP11 | The Bore Identified as MB4 at the Utilisation Area | 6 Monthly (March/September)
MP12 | Soil Monitoring Point at the Utilisation Area Identified as SP1 | 6 Monthly (March/September)
MP13 | Soil Monitoring Point at the Utilisation Area Identified as SP2 | 6 Monthly (March/September)
MP14 | Soil Monitoring Point at the Utilisation Area Identified as SP3 | 6 Monthly (March/September)
MP15 | Soil Monitoring Point at the Utilisation Area Identified as SP4 | 6 Monthly (March/September)
MP16 | Soil Monitoring Point at the Utilisation Area Identified as SP5 | 6 Monthly (March/September)
MP17 | Soil Monitoring Point at the Utilisation Area Identified as SP6 | 6 Monthly (March/September)
MP18 | Soil Monitoring Point at the Utilisation Area Identified as SP7 | 6 Monthly (March/September)
MP19 | Soil Monitoring Point at the Utilisation Area Identified as SP8 | 6 Monthly (March/September)
MP20 | Soil Monitoring Point at the Utilisation Area Identified as SP9 | 6 Monthly (March/September)
MP21 | Soil Monitoring Point at the Utilisation Area Identified as SP10 | 6 Monthly (March/September)
MP22 | Soil Monitoring Point at the Utilisation Area Identified as SP11 | 6 Monthly (March/September)
MP23 | Soil Monitoring Point at the Utilisation Area Identified as SP12 | 6 Monthly (March/September)
MP24 | Soil Monitoring Point at the Utilisation Area Identified as SP13 | 6 Monthly (March/September)
MP25 | Soil Monitoring Point at the Utilisation Area Identified as SP14 | 6 Monthly (March/September)
MP26 | Soil Monitoring Point at the Utilisation Area Identified as SP15 | 6 Monthly (March/September)
MP27 | Dewatered Sludge Applied to the Utilisation Area | Yearly
MP28 | Soil Monitoring Point at the Utilisation Area Identified as SP16 | 6 Monthly (March/September)
MP29 | Soil Monitoring Point at the Utilisation Area Identified as SP17 | 6 Monthly (March/September)
MP30 | Emergency Treated Effluent Discharge Point to Murrumbidgee Irrigation Channel | Only During a Discharge Event (On the First Day of Discharge and Every 21 Days Following During Discharge)
MP31 | Winery Wet Weather Stormwater Discharge Point to Murrumbidgee Irrigation Channel | Only During a Discharge Event (On the First Day of Discharge and Every 21 Days Following During Discharge)

## MP01
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 01 - The Effluent Inlet Pipe at Mt Bingar Waste Water Treatment Plant
Sample Date Range: Apr 2021 - Feb 2025 |  |  |  | Sample Frequency: Soil Samples Collected 6 Monthly and Flow Readings Collected Monthly | [8 empty] | Home
Sample Date | Data Received | Data Published | Average Daily Inflow | Ammonia | Biochemical Oxygen Demand | Conductivity | Nitrate | Nitrogen (total) | Phosphorus (total) | Potassium | Sodium | Total Suspended Solids | pH | Comment
|  |  | kL/day | mg/L | mg/L | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
2021-04-29 | 2021-05-06 | 2021-06-15 | 1200.6667
2021-05-26 | 2021-06-07 | 2021-08-12 | 1173
2021-06-30 | 2021-07-12 | 2021-08-12 | 1080
2021-07-28 | 2021-08-09 | 2021-08-12 | 1270
2021-08-27 | 2021-09-03 | 2021-11-12 | 1189
2021-09-29 | 2021-10-04 | 2021-11-12 | 1343 | 0.02 | 2640 | 2180 | 0.07 | 34.9 | 17.7 | 126 | 438 | 351 | 7.08
2021-10-29 | 2021-11-12 | 2021-11-12 | 1339
2021-11-25 | 2021-12-08 | 2022-04-08 | 1306
2021-12-16 | 2022-01-12 | 2022-04-08 | 984
2022-01-27 | 2022-02-09 | 2022-04-08 | 1095
2022-02-24 | 2022-03-10 | 2022-04-08 | 1140
2022-03-30 | 2022-04-12 | 2022-08-11 | 1149 | 0.87 | 3280 | 1260 | 0.1 | 57.8 | 15.9 | 218 | 154 | 1370 | 4.05
2022-04-30 | 2022-05-02 | 2022-08-11 | 1458
2022-05-30 | 2022-06-02 | 2022-08-11 | 1246.7742
2022-06-30 | 2022-07-04 | 2022-09-09 | 635
2022-07-30 | 2022-09-26 | 2022-09-26 | 775
2022-08-30 | 2022-09-26 | 2022-09-26 | 1205
2022-09-28 | 2023-02-14 | 2023-02-14 | 1195.6667 | 0.12 | 3060 | 1620 | 0.06 | 29.5 | 10.6 | 95 | 321 | 1860 | 7.1
2022-10-31 | 2023-02-14 | 2023-02-14 | 1358.7097
2022-11-30 | 2023-02-14 | 2023-02-14 | 1234.3333
2022-12-29 | 2023-02-14 | 2023-02-14 | 1134.8387
2023-01-31 | 2023-02-05 | 2023-09-07 | 1168
2023-02-28 | 2023-03-03 | 2023-09-07 | 1188
2023-03-31 | 2023-04-02 | 2023-09-07 | 1432 | 0.06 | 2180 | 1290 | 0.16 | 36.2 | 12.6 | 195 | 160 | 806 | 4.33
2023-04-30 | 2023-05-03 | 2023-09-07 | 1099
2023-05-31 | 2023-06-02 | 2023-09-07 | 1141
2023-06-30 | 2023-07-02 | 2023-09-07 | 1080
2023-07-31 | 2023-08-02 | 2023-11-06 | 1006
2023-08-31 | 2023-09-04 | 2023-11-06 | 1154.5161
2023-09-27 | 2023-10-06 | 2023-11-06 | 1184.3333 | 0.12 | 2540 | 1600 | 0.01 | 31.9 | 7.44 | 176 | 239 | 390 | 6.17
2023-10-31 | 2023-11-03 | 2024-02-05 | 1516
2023-11-30 | 2023-12-04 | 2024-02-05 | 1341
2023-12-31 | 2023-01-11 | 2024-02-05 | 1036
2024-01-31 | 2024-02-05 | 2025-04-14 | 1198.3871
2024-02-29 | 2024-03-04 | 2025-04-14 | 1066.2069
2024-03-26 | 2024-04-01 | 2025-04-14 | 1125.4839 | 0.02 | 3750 | 1390 | 0.48 | 36.8 | 10.8 | 146 | 253 | 422 | 4.6
2024-04-30 | 2024-05-06 | 2025-04-14 | 1303.6667
2024-05-31 | 2024-06-03 | 2025-04-14 | 1210
2024-06-30 | 2024-07-02 | 2025-04-14 | 1271.3333
2024-07-31 | 2024-08-06 | 2025-04-14 | 1370.9677
2024-08-31 | 2024-09-03 | 2025-04-14 | 1067.7419
2024-09-25 | 2024-10-02 | 2025-04-14 | 462.3077 | 0.51 | 2680 | 1810 | 0.01 | 30.2 | 10.6 | 181 | 428 | 540 | 6.36
2024-10-31 | 2024-11-05 | 2025-04-14 | 0
2024-11-30 | 2024-12-03 | 2025-04-14 | 0
2024-12-31 | 2025-01-09 | 2025-04-14 | 0
2025-01-31 | 2025-02-04 | 2025-04-14 | 320
2025-02-28 | 2025-03-04 | 2025-04-14 | 885.7143

## MP02
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 02 - The Effluent Sampling Point at the 140 Megalitre Storage Pond
Sample Date Range: Apr 2021 - Feb 2025 |  |  |  | Sample Frequency: Soil Samples Collected 6 Monthly and Flow Readings Collected Monthly | [8 empty] | Home
[5 empty] | 60 |  |  | 20 | 10 |  |  | 200
Sample Date | Data Received | Data Published | Average Daily Inflow | Ammonia | Biochemical Oxygen Demand Concentration Limit: 60 | Conductivity | Nitrate | Nitrogen (total) Concentration Limit: 20 | Phosphorus (total) Concentration Limit: 10 | Potassium | Sodium | Total Suspended Solids Concentration Limit: 200 | pH | Comment
|  |  | kL/day | mg/L | mg/L | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
2021-04-29 | 2021-05-06 | 2021-06-15 | 1243.3333
2021-05-26 | 2021-06-07 | 2021-08-12 | 1257
2021-06-30 | 2021-07-12 | 2021-08-12 | 1263
2021-07-28 | 2021-08-09 | 2021-08-12 | 1256
2021-08-27 | 2021-09-03 | 2021-11-12 | 1275
2021-09-29 | 2021-10-04 | 2021-11-12 | 1297 | 4.21 | 49 | 2020 | 0.02 | 15.3 | 9.3 | 181 | 341 | 10 | 8.29
2021-10-29 | 2021-11-12 | 2021-11-12 | 1260
2021-11-25 | 2021-12-08 | 2022-04-08 | 1279
2021-12-16 | 2022-01-12 | 2022-04-08 | 1235
2022-01-27 | 2022-02-09 | 2022-04-08 | 1280
2022-02-24 | 2022-03-10 | 2022-04-08 | 1231
2022-03-30 | 2022-04-12 | 2022-08-11 | 1213 | 6.32 | 10 | 1530 | 0.01 | 19.9 | 9.9 | 140 | 300 | 113 | 8.17
2022-04-30 | 2022-05-02 | 2022-08-11 | 1326
2022-05-30 | 2022-06-02 | 2022-08-11 | 1328.0645
2022-06-30 | 2022-07-04 | 2022-09-09 | 1325
2022-07-30 | 2022-09-26 | 2022-09-26 | 1374
2022-08-30 | 2022-09-26 | 2022-09-26 | 1337
2022-09-28 | 2023-02-14 | 2023-02-14 | 1296.6667 | 14.1 | 14 | 1910 | 0.01 | 23.7 | 7.57 | 140 | 330 | 56 | 8.44 | ** Investigating Source of Breach.
2022-10-31 | 2023-02-14 | 2023-02-14 | 1322.5806
2022-11-30 | 2023-02-14 | 2023-02-14 | 1333.3333
2022-12-29 | 2023-02-14 | 2023-02-14 | 1136.7742
2023-01-31 | 2023-02-05 | 2023-09-07 | 1244
2023-02-28 | 2023-03-03 | 2023-09-07 | 1231
2023-03-31 | 2023-04-02 | 2023-09-07 | 1225 | 4.04 | 10 | 1700 | 0.01 | 17.8 | 11.3 | 147 | 302 | 65 | 8.38 | ** Investigating Source of Breach.
2023-04-30 | 2023-05-03 | 2023-09-07 | 1259
2023-05-31 | 2023-06-02 | 2023-09-07 | 1226
2023-06-30 | 2023-07-02 | 2023-09-07 | 1231
2023-07-31 | 2023-08-02 | 2023-11-06 | 1412.4138
2023-08-31 | 2023-09-04 | 2023-11-06 | 1289.0323
2023-09-27 | 2023-10-06 | 2023-11-06 | 1235.6667 | 1.49 | 18 | 1720 | 0.01 | 15.3 | 11.3 | 158 | 307 | 141 | 7.97 | Brewery Operations. Looking at alternative cleaning products.
2023-10-31 | 2023-11-03 | 2024-02-05 | 1242
2023-11-30 | 2023-12-04 | 2024-02-05 | 1262
2023-12-31 | 2023-01-11 | 2024-02-05 | 1195
2024-01-31 | 2024-02-05 | 2025-04-14 | 1505.8065
2024-02-29 | 2024-03-04 | 2025-04-14 | 1188.6207
2024-03-26 | 2024-04-01 | 2025-04-14 | 1215.4839 | 7.59 | 37 | 1940 | 0.06 | 25.7 | 14.5 | 215 | 298 | 204 | 8.14 | Brewery operations, reduced water usage causing higher concentration levels.
2024-04-30 | 2024-05-06 | 2025-04-14 | 1298.6667
2024-05-31 | 2024-06-03 | 2025-04-14 | 1325.8065
2024-06-30 | 2024-07-02 | 2025-04-14 | 1259
2024-07-31 | 2024-08-06 | 2025-04-14 | 1202.2581
2024-08-31 | 2024-09-03 | 2025-04-14 | 1229.3548
2024-09-25 | 2024-10-02 | 2025-04-14 | 1063.3333 | 14.3 | 28 | 1980 | 0.01 | 23.8 | 9.52 | 169 | 423 | 60 | 8.33 | Power Outage, desludging lagoon and low lagoon level.
2024-10-31 | 2024-11-05 | 2025-04-14 | 1093.2258
2024-11-30 | 2024-12-03 | 2025-04-14 | 1192.6667
2024-12-31 | 2025-01-09 | 2025-04-14 | 1073.5294
2025-01-31 | 2025-02-04 | 2025-04-14 | 1110.3226
2025-02-28 | 2025-03-04 | 2025-04-14 | 1238.5714

## MP08
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 08 - The Bore Identified as MB1 at the Utilisation Area
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [5 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Depth | Nitrate | Nitrogen (total) | Phosphorus (total) | Potassium | Sodium | pH | Comment
|  |  | µS/cm | Metres | mg/L | mg/L | mg/L | mg/L | mg/L
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP09
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 09 - The Bore Identified as MB2 at the Utilisation Area
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [5 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Depth | Nitrate | Nitrogen (total) | Phosphorus (total) | Potassium | Sodium | pH | Comment
|  |  | µS/cm | Metres | mg/L | mg/L | mg/L | mg/L | mg/L
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP10
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 10 - The Bore Identified as MB3 at the Utilisation Area
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [5 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Depth | Nitrate | Nitrogen (total) | Phosphorus (total) | Potassium | Sodium | pH | Comment
|  |  | µS/cm | Metres | mg/L | mg/L | mg/L | mg/L | mg/L
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP11
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 11 - The Bore Identified as MB4 at the Utilisation Area
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [5 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Depth | Nitrate | Nitrogen (total) | Phosphorus (total) | Potassium | Sodium | pH | Comment
|  |  | µS/cm | Metres | mg/L | mg/L | mg/L | mg/L | mg/L
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP12
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 12 - Soil Monitoring Point at the Utilisation Area Identified as SP1
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP13
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 13 - Soil Monitoring Point at the Utilisation Area Identified as SP2
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | 0.39 | 212 | 87.2 | 33.9 | 38.7 | 9.09 | 659 | 8.99 | 270 | 173 | 1368 | 840 | 4.5
2022-03-08 | 2022-03-21 | 2022-08-11 | 0.39 | 251 | 67.9 | 17.2 | 35.3 | 2.09 | 397 | 5.79 | 205 | 108 | 438 | 342 | 4.7
2022-09-30 | 2022-09-30 | 2023-02-14 | 0.2 | 86.8 | 42.5 | 56.5 | 32.7 | 1 | 467 | 9.11 | 185 | 163 | 2544 | 166 | 4
2023-03-17 | 2023-04-20 | 2023-09-07 | 0.69 | 214 | 52.4 | 27.3 | 45.7 | 1 | 767 | 8.88 | 211 | 88 | 1557 | 598 | 16.1
2023-09-19 | 2023-10-06 | 2023-11-06 | 0.46 | 282 | 83.9 | 22.2 | 49.1 | 1 | 561 | 9.11 | 235 | 111 | 848 | 338 | 7.7
2024-03-27 | 2024-04-01 | 2025-04-14 | 0.32 | 125 | 40.8 | 25.5 | 25.8 | 1.63 | 799 | 9.03 | 257 | 112 | 1203 | 263 | 2
2024-09-30 | 2024-10-08 | 2025-04-14 | 0.43 | 215 | 98.8 | 39.5 | 45.3 | 1 | 489 | 9.35 | 161 | 146 | 1294 | 609 | 2.4

## MP14
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 14 - Soil Monitoring Point at the Utilisation Area Identified as SP3
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | 0.2 | 279 | 65.1 | 7.1 | 23.2 | 4.02 | 367 | 8.74 | 121 | 80 | 246 | 381 | 3.5
2022-03-08 | 2022-03-21 | 2022-08-11 | 0.76 | 312 | 85.2 | 5.6 | 24 | 0.5 | 197 | 8.22 | 157 | 116 | 4.8 | 357 | 4.8
2022-09-30 | 2022-09-30 | 2023-02-14 | 0.24 | 259 | 59.4 | 5.7 | 37.4 | 1.59 | 211 | 9.57 | 115 | 110 | 141 | 278 | 4.9
2023-03-17 | 2023-04-20 | 2023-09-07 | 0.34 | 93.5 | 60.8 | 15.3 | 26.3 | 1 | 590 | 8.66 | 201 | 53.1 | 622 | 306 | 6.4
2023-09-19 | 2023-10-06 | 2023-11-06 | 0.81 | 288 | 63.6 | 15.5 | 36 | 2.12 | 583 | 8.28 | 182 | 87.2 | 575 | 412 | 7.9
2024-03-27 | 2024-04-01 | 2025-04-14 | 0.82 | 210 | 54 | 12.3 | 36.4 | 1 | 482 | 8.36 | 40 | 64.1 | 460 | 674 | 12.2
2024-09-30 | 2024-10-08 | 2025-04-14 | 0.23 | 154 | 52.7 | 26.7 | 21.3 | 1 | 582 | 8.8 | 40 | 86.4 | 710 | 223 | 1.9

## MP15
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 15 - Soil Monitoring Point at the Utilisation Area Identified as SP4
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP16
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 16 - Soil Monitoring Point at the Utilisation Area Identified as SP5
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP17
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 17 - Soil Monitoring Point at the Utilisation Area Identified as SP6
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | 0.09 | 48.8 | 28.1 | 34.6 | 20.3 | 5.29 | 408 | 8.26 | 219 | 81.5 | 1614 | 212 | 1.3
2022-03-08 | 2022-03-21 | 2022-08-11 | 0.1 | 76.9 | 60.3 | 59.2 | 33.2 | 0.5 | 289 | 8.51 | 299 | 80.8 | 1763 | 196 | 1.4
2022-09-30 | 2022-09-30 | 2023-02-14 | 0.11 | 66.5 | 49.9 | 41 | 23.2 | 10.5 | 462 | 8.46 | 170 | 102 | 1692 | 139 | 3.4
2023-03-17 | 2023-04-20 | 2023-09-07 | 0.1 | 40.3 | 45.4 | 33.4 | 23.4 | 1 | 464 | 8.82 | 220 | 65.3 | 1348 | 109 | 1.7
2023-09-19 | 2023-10-06 | 2023-11-06 | 0.18 | 84.8 | 56.9 | 36.7 | 27.7 | 2.29 | 668 | 8.76 | 283 | 80.8 | 1342 | 150 | 1.9
2024-03-27 | 2024-04-01 | 2025-04-14 | 0.27 | 88.7 | 27.7 | 39.9 | 18.9 | 1 | 799 | 8.93 | 308 | 93 | 1694 | 150 | 1.7
2024-09-30 | 2024-10-08 | 2025-04-14 | 0.23 | 84.5 | 54.4 | 31.7 | 28.8 | 1.69 | 411 | 8.78 | 171 | 89.5 | 1102 | 305 | 1.7

## MP18
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 18 - Soil Monitoring Point at the Utilisation Area Identified as SP7
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP19
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 19 - Soil Monitoring Point at the Utilisation Area Identified as SP8
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP20
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 20 - Soil Monitoring Point at the Utilisation Area Identified as SP9
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | 0.08 | 31.8 | 28.6 | 18.1 | 24.5 | 1.63 | 295 | 9 | 136 | 67.4 | 892 | 192 | 1.5
2022-03-08 | 2022-03-21 | 2022-08-11 | 0.15 | 47.1 | 49.9 | 34.5 | 43.3 | 0.5 | 281 | 8.73 | 447 | 81.5 | 1081 | 196 | 1.8
2022-09-30 | 2022-09-30 | 2023-02-14 | 0.11 | 55.8 | 30.2 | 23.4 | 24.7 | 1 | 384 | 9.33 | 180 | 73.1 | 963 | 157 | 4.1
2023-03-17 | 2023-04-20 | 2023-09-07 | 0.19 | 33.3 | 12.6 | 28.5 | 22 | 3.12 | 655 | 9.09 | 357 | 61.3 | 1264 | 175 | 2.4
2023-09-19 | 2023-10-06 | 2023-11-06 | 0.21 | 39.8 | 32.5 | 28.7 | 33.6 | 1.58 | 612 | 9.13 | 286 | 99.4 | 633 | 163 | 2.4
2024-03-27 | 2024-04-01 | 2025-04-14 | 0.17 | 29.9 | 27.6 | 12.7 | 27.7 | 1.46 | 528 | 8.99 | 139 | 59.5 | 639 | 247 | 2
2024-09-30 | 2024-10-08 | 2025-04-14 | 0.15 | 50.9 | 32.1 | 32.2 | 23.1 | 1 | 410 | 8.74 | 130 | 88.6 | 1339 | 309 | 1.6

## MP21
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 21 - Soil Monitoring Point at the Utilisation Area Identified as SP10
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP22
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 22 - Soil Monitoring Point at the Utilisation Area Identified as SP11
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP23
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 23 - Soil Monitoring Point at the Utilisation Area Identified as SP12
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP24
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 24 - Soil Monitoring Point at the Utilisation Area Identified as SP13
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP25
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 25 - Soil Monitoring Point at the Utilisation Area Identified as SP14
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-03-08 | 2022-03-08 | 2022-08-11 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2022-09-30 | 2022-09-30 | 2023-02-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-03-17 | 2023-04-20 | 2023-09-07 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2023-09-19 | 2023-10-06 | 2023-11-06 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-03-27 | 2024-04-01 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)
2024-09-30 | 2024-10-08 | 2025-04-14 | - | - | - | - | - | - | - | - | - | - | - | - | - | Dry (No Sample Taken)

## MP26
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 26 - Soil Monitoring Point at the Utilisation Area Identified as SP15
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | 0.22 | 32.3 | 9.9 | 13.5 | 3.7 | 27.4 | 515 | 4.44 | 152 | 63.5 | 537 | 127 | 2.3
2022-03-08 | 2022-03-21 | 2022-08-11 | 0.06 | 39.3 | 15.1 | 3.7 | 4 | 16.2 | 154 | 6.25 | 147 | 48.3 | 134 | 88.4 | 1.2
2022-09-30 | 2022-09-30 | 2023-02-14 | 0.07 | 52.3 | 48.1 | 10.6 | 5.3 | 6.83 | 344 | 7.82 | 104 | 17 | 364 | 100 | 2.7
2023-03-17 | 2023-04-20 | 2023-09-07 | 1 | 19.5 | 17.2 | 8.1 | 8.1 | 75.3 | 897 | 5.01 | 94 | 33 | 499 | 208 | 3
2023-09-19 | 2023-10-06 | 2023-11-06 | 0.07 | 82.3 | 15.6 | 16.5 | 1.5 | 1 | 953 | 7.73 | 397 | 64.5 | 793 | 20.4 | 0.4
2024-03-27 | 2024-04-01 | 2025-04-14 | 0.08 | 26.2 | 13.6 | 7 | 5.7 | 1 | 763 | 6.25 | 115 | 50.9 | 414 | 60.6 | 1.1
2024-09-30 | 2024-10-08 | 2025-04-14 | 0.05 | 56 | 11.1 | 11.5 | 1.6 | 1 | 559 | 7.79 | 43.4 | 31.1 | 468 | 14.5 | 0.3

## MP27
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 27 - Dewatered Sludge Applied to the Utilisation Area
|  |  | Sample Frequency: Yearly | Home
Published Date | Sludge (Estimate) | Comment
kg/Ha
2021-06-30 | 2800
2022-06-30 | 4330
2023-06-30 | 2820
2024-06-30 | 2680

## MP28
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 28 - Soil Monitoring Point at the Utilisation Area Identified as SP16
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | 0.24 | 80.3 | 102 | 17 | 46.1 | 1.49 | 608 | 8.45 | 179 | 64.1 | 566 | 535 | 2.8
2022-03-08 | 2022-03-21 | 2022-08-11 | 0.22 | 90.6 | 102 | 16.2 | 35.8 | 1.18 | 267 | 7.96 | 162 | 52.2 | 325 | 211 | 3.4
2022-09-30 | 2022-09-30 | 2023-02-14 | 0.17 | 46.7 | 89.1 | 15.5 | 42 | 1 | 428 | 7.97 | 149 | 58.1 | 392 | 213 | 5.6
2023-03-17 | 2023-04-20 | 2023-09-07 | 0.17 | 78.7 | 29.2 | 25.8 | 25.5 | 4.63 | 783 | 8.06 | 477 | 78.2 | 886 | 303 | 1.6
2023-09-19 | 2023-10-06 | 2023-11-06 | 0.17 | 105 | 84.4 | 23.3 | 38.2 | 1 | 598 | 8.85 | 264 | 80.1 | 846 | 170 | 1.5
2024-03-27 | 2024-04-01 | 2025-04-14 | 0.39 | 60.6 | 76.4 | 15 | 43 | 1 | 805 | 7.97 | 44 | 55.4 | 562 | 375 | 4.6
2024-09-30 | 2024-10-08 | 2025-04-14 | 0.3 | 57 | 86.1 | 21.4 | 45.7 | 4.33 | 418 | 8.44 | 55.5 | 54.5 | 515 | 398 | 2

## MP29
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 29 - Soil Monitoring Point at the Utilisation Area Identified as SP17
Sample Date Range: Sep 2021 - Sep 2024 |  |  |  | Sample Frequency: 6 Monthly (March/September) | [10 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (total) | pH | Phosphorus (total) | Phosphorus Sorption Capacity | Potassium | Sodium | Sodium Adsorption Ratio | Comment
|  |  | dS/m | mmol/kg | mmol/kg | mmol/kg | mmol/kg | mg/kg | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg
2021-09-17 | 2021-10-04 | 2021-11-12 | 0.24 | 213 | 117 | 14 | 41.9 | 1.9 | 374 | 9.14 | 135 | 65.5 | 421 | 422 | 5.9
2022-03-08 | 2022-03-21 | 2022-08-11 | 0.2 | 188 | 144 | 23.3 | 44.2 | 0.5 | 236 | 9.19 | 114 | 82.6 | 494 | 279 | 2.4
2022-09-30 | 2022-09-30 | 2023-02-14 | 0.2 | 249 | 119 | 18.3 | 34.2 | 1.98 | 427 | 9.18 | 162 | 87.7 | 452 | 240 | 6.2
2023-03-17 | 2023-04-20 | 2023-09-07 | 0.15 | 55.1 | 34.8 | 23.7 | 24.9 | 21.7 | 726 | 8.6 | 287 | 64.2 | 648 | 165 | 2.4
2023-09-19 | 2023-10-06 | 2023-11-06 | 0.16 | 72.1 | 36 | 14 | 28.7 | 16.5 | 662 | 8.54 | 254 | 96.4 | 530 | 174 | 1.2
2024-03-27 | 2024-04-01 | 2025-04-14 | 0.14 | 96.4 | 91.4 | 24.6 | 29.1 | 1 | 652 | 8.85 | 171 | 57.9 | 940 | 110 | 1.8
2024-09-30 | 2024-10-08 | 2025-04-14 | 0.34 | 203 | 129 | 27.7 | 45.7 | 1.56 | 497 | 9.18 | 53 | 74 | 550 | 350 | 2.2

## MP30
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 30 - Emergency Treated Effluent Discharge Point to Murrumbidgee Irrigation Channel
|  |  | Sample Frequency: Only During a Discharge Event (On the First Day of Discharge and Every 21 Days Following During Discharge) | [5 empty] | Home
Sample Date | Data Received | Data Published | Conductivity | Nitrogen (total) | Phosphorus (total) | Potassium | Sodium | Total Suspended Solids | Turbidity | Comment
|  |  | µS/cm | mg/L | mg/L | mg/L | mg/L | mg/L | NTU
2021-06-09 | 2021-06-14 | 2021-11-12 | 1660 | 25 | 10.2 | 153 | 268 | 141 | - | Turbidity Not Sourced
2021-06-29 | 2021-07-02 | 2021-11-12 | 1620 | 8 | 7.66 | 163 | 289 | 64 | - | Turbidity Not Sourced
2021-07-14 | 2021-07-19 | 2021-11-12 | 1620 | 11.6 | 7.79 | 153 | 242 | 99 | - | Turbidity Not Sourced
2021-08-05 | 2021-08-09 | 2021-11-12 | 1740 | 4.1 | 5.82 | 164 | 278 | 51 | - | Turbidity Not Sourced
2021-08-25 | 2021-08-30 | 2021-11-12 | 1830 | 19.2 | 7.63 | 172 | 301 | 75 | - | Turbidity Not Sourced
2021-09-15 | 2021-09-20 | 2021-11-12 | 1960 | 16.9 | 8.22 | 170 | 315 | 90 | - | Turbidity Not Sourced
2023-03-17 | 2023-04-20 | 2023-09-07 | [7 empty] | No Emergency Use For Period - Sample Not Required
2023-09-19 | 2023-10-06 | 2023-11-06 | [7 empty] | No Emergency Use For Period - Sample Not Required
2024-08-12 | 2024-08-16 | 2025-04-14 | 1710 | 8.2 | 9.12 | 165 | 314 | 57 | 17.1
2024-09-02 | 2024-09-05 | 2025-04-14 | 1810 | 12.8 | 9.1 | 161 | 337 | 123 | 44.2
2024-09-23 | 2024-09-26 | 2025-04-14 | 2140 | 23.5 | 10.2 | 163 | 395 | 66 | 28.6

## MP31
Environmental Protection Licence Number: 11733 (Casella Wines) Monitoring Point 31 - Winery Wet Weather Stormwater Discharge Point to Murrumbidgee Irrigation Channel
|  |  | Sample Frequency: Only During a Discharge Event (On the First Day of Discharge and Every 21 Days Following During Discharge) | [5 empty] | Home
Sample Date | Data Received | Data Published | Chemical Oxygen Demand | Conductivity | pH | Total Suspended Solids | Turbidity | Comment
|  |  | mh/L | µS/cm |  | mg/L | NTU
2021-09-17 | 2021-10-04 | 2021-11-12 | [5 empty] | No Emergency Use For Period - Sample Not Required
2022-01-16 | 2022-01-16 | 2022-09-09 | - | - | 7.81 | 60 | 14 | Chemical Oxygen Demand and Conductivity Not Sourced
2022-06-01 | 2022-06-14 | 2022-09-09 | 123 | 812 | 8.3 | 68 | 28.3 | Excessive rain. Waste ponds full. Emergency Release.
2023-03-17 | 2023-04-10 | 2023-09-07 | [5 empty] | No Emergency Use For Period - Sample Not Required
2023-09-19 | 2023-10-06 | 2023-11-06 | [5 empty] | No Emergency Use For Period - Sample Not Required
2024-03-27 | 2024-04-01 | 2025-04-14 | [5 empty] | No Emergency Use For Period - Sample Not Required
2024-09-30 | 2024-10-08 | 2025-04-14 | [5 empty] | No Emergency Use For Period - Sample Not Required